|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Manufacturer** | **Part Number** | **Description** | **Qty** | **Ordering Website** |
| TE Connectivity AMP | 5787394-2 | 26 Position D-Type Receptacle, Female Sockets Connector, Board Edge, Through Hole, Right Angle Solder | 1 | https://www.digikey.com/product-detail/en/te-connectivity-amp-connectors/5787394-2/A35093-ND/1279806 |
| TE Connectivity AMP Connectors | 5750913-2 | 26 Position D-Type Plug, Male Pins Connector, Free Hanging (In-Line) IDC, Discrete Wire | 1 | https://www.digikey.com/product-detail/en/te-connectivity-amp-connectors/5750913-2/A31783-ND/807183 |
| Sparkfun | PRT-12791 | Header - 2x23-pin Male (PTH, 0.1") | 2 | https://www.sparkfun.com/products/12791 |
| Sparkfun | PRT-09044 | Jumper - 2 Pin, shunts, 0.1” | 1 | https://www.sparkfun.com/products/9044 |
|  |  |  |  |  |