|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Manufacturer** | **Part Number** | **Description** | **Qty** | **Ordering Website** |
| TE Connectivity AMP | 5787394-2 | 26 Position D-Type Receptacle, Female Sockets Connector, Board Edge, Through Hole, Right Angle Solder | 1 | https://www.digikey.com/product-detail/en/te-connectivity-amp-connectors/5787394-2/A35093-ND/1279806 |
|  |  |  |  |  |